## EBS
| CPD PROJECT Number - Project Name |  |  |  | Data for Early Building Services (also shown on MDF/IDF sheets)
| Project responsibility | [8 empty] | Coordinate with UW BIT - OT / Shop 69 |  |  |  | Project responsibility
Startup Dates | EARLY SERVICE | DEVICE TYPE |  | DEVICE LOCATION INFORMATION |  | MAC Address | NETWORKING | [5 empty] | BACnet Device ID (if applicable) | CREDENTIALS
| Outlet ID | Make | Model | Room Name | Room Number |  | IDF/MDF Room | FacNet? | POE? | IP Address | Subnet Mask | Default Gateway |  | Credentials Changed from Default? (Y/N) | Username/Password delivered? (Y/N) | Comments (System Served, Panel Name etc.)
| EXAMPLE | [14 empty] | Campus Chilled Water
2024-03-27 | B110.1.A23 | Onicon | System-10 BTU Meter | Basement Mechanical Room | B002 | 00:40:9d:48:ab:36 | 10A | Yes | No | 10.129.54.61 | 255.255.255.0 | 10.129.54.1 | 3107501 | N | Y
<Device System>
<Device System> (Fire Alarm)
<Device System> (CAAMS)
<Device System> (Elevators)
<Device System> (Other)

## MDF (Room #)
CPD PROJECT Number - Project Name
|  | INFRASTRUCTURE |  |  |  | CABLE PLANT |  |  |  | UW SERVICE TYPE |  |  |  |  | POE | POE | Static IP |  |  | Subnet | Port Label | IP Address Info
OUTLET | ROOM | CO | SMR | BOX | DIST | UTP | UTP |  |  | IP | ANALOG |  | 1 Gig | 10 Gig | Blank | Watts | Facnet | Public | Private
ID | NAME | SIZE | Size | SIZE | AFF | CAT 5E | CAT 6A | CATV | FIBER | PHONE | VOICE FAX | FACnet | DATA | DATA | /Yes | Required |  |  |  |  | Default is "E-net" |  | COMMENT
MDF (Room Number)
Building Systems Outlets Grouped
111.1.A01
111.1.A02
111.1.A03
111.2.A04
111.2.A05
111.3.A06
111.3.A07
111.4.A08
111.4.A09
111.4.A10
111.4.A11
111.5.A12
111.5.A13
111.6.A14
111.6.A15
111.7.A16
111.8.A17
Bldg Systems Totals | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
1st Floor Standard Oultets
Strandard Outlet Totals | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Wi-Fi APs
CCC.RRR.APyy
CCC.RRR.APyy
CCC.RRR.APyy
CCC.RRR.APyy
Wi-Fi Aps Totals | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Cameras
Camera Totals | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
MDF Totals | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
If the MDF also serves as an IDF expand this section and include any standard outlets. If not delete this section and modify the totals row at the bottom
If your project does not require a particular product, hide that column in all spread sheets. For instance if the project is all Cat 6a cable and there is not cable TV, hide columns G, I and N. If other cable types are used modify existing headers or add a column if necessary.
See Wi-Fi naming convention; https://itconnect.uw.edu/work/uw-it-design-guide/ (A/E Guide for Design of Distributed Network ...Part 2.2E ..Naming convention)
Outlet schedule port naming convention; example 111.1.A48 where 111 = the room (space) number , .1 is the outlet sequence in the space, .A the panel, and 48 is the panel port
Port labeling instructions for UWMC projects go to: https://docs.google.com/spreadsheets/d/1d0qeolH8UCMmm72BhKcO-KIEDapkNbf5Un_Tunj-i44/edit?usp=sharing
Indicate if port is to be activated in 1 Gig or 10 Gig
column with a "1". If not activated leave blank.

## Bldg IDF (Room #)
CPD PROJECT Number - Project Name
Xst Floor IDF (Room Number)
|  | INFRASTRUCTURE |  |  |  | CABLE PLANT |  |  |  | UW SERVICE TYPE |  |  |  |  | POE | POE | Static IP |  |  | Subnet | Port Label | IP Address Info
OUTLET | ROOM | CO | SMR | BOX | DIST | UTP | UTP |  |  | IP | ANALOG |  | 1 Gig | 10 Gig | Blank | Watts | Facnet | Public | Private
Panel Port | NAME | SIZE | SIZE | SIZE | AFF | CAT 5E | CAT 6A | CATV | FIBER | PHONE | VOICE FAX | FACnet | DATA | DATA | /Yes | Required |  |  |  |  | Default is "E-net" |  | COMMENT
Building Systems Outlets Grouped
111.1.A01
111.1.A02
111.2.A03
111.3.A04
111.4.A05
Bldg Systems Totals | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Standard Outlets
111.1.A01
111.1.A02
111.2.A03
111.2.A04
111.3.A05
111.3.A06
Standard Outlet Totals | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Wireless Outlets
CCC.RRR.APyy
CCC.RRR.APyy
CCC.RRR.APyy
CCC.RRR.APyy
CCC.RRR.APyy
CCC.RRR.APyy
CCC.RRR.APyy
CCC.RRR.APyy
Wi-Fi Aps Totals | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Cameras
Camera Totals | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Xst Floor Totals | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Xnd Floor going to IDF (Room Number)
If the IDF serves multiple floors copy the groupings from above here modify and add the information for the line items. If not delete the header above.
Create copies of this sheet (a new tab in this work book) and rename as required to cover all the Communication Closets and Floors for this project.
See Wi-Fi naming convention; https://itconnect.uw.edu/work/uw-it-design-guide/ (A/E Guide for Design of Distributed Network ...Part 2.2E ..Naming convention)
If your project does not require a particular product, hide that column in all spread sheets. For instance if the project is all Cat 6a cable and there is not cable TV, hide columns G, I and N. If other cable types are used modify existing headers or add a column if necessary.
See Data naming convention; https://itconnect.uw.edu/work/uw-it-design-guide/ (Labeling, drawing, Labeling Scheme for Room Outlets)
Outlet schedule port naming convention; example 111.1.A48 where 111 = the room (space) number , .1 is the outlet sequence in the space, .A the panel, and 48 is the panel port
Outlet schedule port naming convention; example 111.1.A48 where 111 = the room (space) number , .1 is the outlet sequence in the space, .A the panel, and 48 is the panel port
Port labeling instructions for UWMC projects go to: https://docs.google.com/spreadsheets/d/1d0qeolH8UCMmm72BhKcO-KIEDapkNbf5Un_Tunj-i44/edit?usp=sharing
Indicate if port is to be activated in 1 Gig or 10 Gig
column with a "1". If not activated leave blank.